## Slide 1
Data flow ACTRIS-2

## Slide 2
Data flow ACTRIS-2 for NOx
level 0: raw data level 1: corrected*1 data
level 2: 1-hourly corrected*1 data
(for all levels: EBAS format with optional columns containing metadata to check corrections) *2
*1 according to GAW Measurement Guidelines
*2 final format will be developed (Rohrer, EBAS), see http://ebas-submit.nilu.no/
First Submission to EBAS
http://ebas-submit-tool.nilu.no/
WCC-NOx
Data Processing/Consistency Checks
QA process under lead by WCC-NOx
WCC-Cloud
https://fz-juelich.sciebo.de/
Stations
Feedback to stations:
open issues in the issue tracker
http://ebas-feedback.nilu.no/my_view_page.php
second revision or approval
problems / questions have to be addressed by the data provider;
this will be tracked until a decision maker (WCC-NOx) closes the issue (successful).
Final Submission to EBAS
«ACTRIS» data
http://ebas-submit-tool.nilu.no/
Re-
submission
Re-
submission
Data meeting to discuss problems and progress
(regular?)

## Slide 3
Confirmation of flags???
Are templates ok? Yes, all infomation is captured but some technical problems during submission (is discussed offline with EBAS)
Status of WCC NOx: first priority Side-by-Side intercomparison (preparation and participation), correction/data checks on-going.
NOx submission levels and flags
Level 0 "Native" time resolution, mixing ratios
Level 1 corrected data, "Native" time resolution
Level 2 corrected data, 1-hour averages

## Slide 4
2) H2O quenching:
NO2* + H2O → NO2 + H2O
  H2O measurements required (or alternatively adequate drying)
3) Offset correction: nighttime data when O3 > 20 ppb
NOx Correction
F. Rohrer WCC-NOx
1) Dark reaction with ambient O3 in inlet line : NO+O3 (hn = 0)
  O3 measurements required
Notes: Dark reaction depends on residence time in the inlet line,temperature, and pressure
Example taken from station with a long inlet line  most servere effect. If possible short line with high diameter to reduce the pressure gradient.
@30 ppb O3 5s entspricht 5%

## Slide 5
data quality objectives (DQO‘s) for NO & NO2

## Slide 6
NOx rapid data delivery?  WHO will act as pilot?
Open questions NOx

## Slide 7
Data flow ACTRIS-2 for VOCs
Issue tracker: Stations answer open issues
1. Submission level 0 (incl.target, zero) and/or Level 2 to EBAS via http://ebas-submit-tool.nilu.no/
Consistency checks ACTRIS QA(EMPA) and EMEP QA (NILU)
Re-submission
to EBAS via submission tool
Publication of final data at EBAS:
«ACTRIS» data
Data workshop – Discussion of data
Not approved
Issue tracker: request to submit data
Issue tracker: Feedback to stations
approval
Issue tracker: re-submit data
March 31st
April 30th
~2nd half of May
Deadline: 30st June
approval
Notes: Yellow boxes require action from the data submitter!
Short description:
EMPA/NILU (WHO?) will open an Issue to start the data submission (1st March)
Submission to the database – it is mandatory to use the submission tool!
Consistency checks are performed by NILU (Sverre) and EMPA (Stefan and Matz)
NILU/EMPA : Problems/ issues are defined in the issue tracker and assigned to the respective stations
These issues are discussed at the data workshop
Issues have to be answered by the stations –
if ok (approval), issues are closed and a new issue is opened to initiate the re-submission of revised data.
As long as the issues are not solved (no approval), the discussion is on-going and the data will not be published (????)
If no revisison is necessary the data set submitted in the first submission process will be published.

## Slide 8
VOC submission levels and flags
Level 0 (with target gas and zero data  HPB pilot station for target gas )
Level 2 same as Level 0 but without target gas and zero gas infromation
http://ebas-submit.nilu.no/Submit-Data/Regular-Annual-Data-Reporting/VOC/NMHC-VOC-OVOC-on-line
NEW Submission template VOCs (July 2016):

## Slide 9
Target gas measurements monitor…
…the reproducibility of the instrument, the uncertainty of the measurement (deviation from expected values),the quality of the calibration procedure on a monthly and long-term scale.
First VOC target gas data submitted for 2015
Target gas for NOx (pilot station HPB) postboned  technical issues

## Slide 10
VOC rapid data delivery?  WHO will act as pilot?
Open questions VOCs
Automated QA measures  task 3.3
RR Cylinders  are station interested in intercomparison?

## Slide 11
data quality objectives (DQO‘s) for VOCs

## Slide 12
Automated QA measures:
EMEP QA checks (Sverre Solberg)
Plot of target gas data with average stdv and comparison to previous years.
X/y plots and ratios
 workshop for discussion – date? Location ?
DWD Met. Observatorium Hohenpeißenberg, Oktober 16 Seite 12
Open questions VOCs

## Slide 13
NILU consistency checks of new VOC data (colored) receieved through EBAS-submit compared to existing data in EBAS (grey) by S. Solberg
red color: data rejected/outlier
blue: data ok
grey: historical data
DWD Met. Observatorium Hohenpeißenberg, Oktober 16 Seite 13