## Slide 1
Quality assurance / closure studies for particle number concentration measured by mobility spectrometers
Alfred Wiedensohler & Kay Weinhold
+ PSI, CNRS, NILU, UHEL

## Slide 2: Onsite Intercomparison with an additional CPC
TSI CPCs model 3772 are provided by following institutes:
  PSI
  UHEL
  CNRS (still missing)
  NILU
  TROPOS
The CPCs will be circulates in a regional sub-network to be compared to the MPSS
After each circulation, the CPCs will be checked and calibrated at the WCCAP
Time series of particle number concentrations and size distributions are sent to TROPOS for evaluation.

## Slide 3: CPC Calibration – adjustment to 10 nm

## Slide 5
Country | Station | 
BE | Vielsalm | 
BG | BEO Moussala | 
BO | Chacaltaya | Not reachable
CH | Jungfraujoch | Non-EU
CZ | Kosetice | 
CZ | Usti | OdCOM
CZ | Prague Suchdol | 
DE | Waldhof | UBA
DE | Schauinsland | UBA
DE | Neuglobsow | UBA
DE | Zugspitze | UBA
DE | Hohenpeissenberg | DWD
DE | Melpitz | TROPOS
DE | Leipzig TROPOS | TROPOS
DE | Leipzig Eisenbahnstr. | TROPOS
DE | Leipzig Mitte | BfUL/TROPOS
DE | Leipzig West | BfUL/TROPOS
DE | Annaberg | BfUL
DE | Dresden - Nord | BfUL
DE | Dresden - West | BfUL
ES | Granada | 
ES | Madrid | 
ES | Montseny | 
FI | Varriö | 
FI | Hyytiälä | 
FI | Pallas | 
FR | SIRTA/Gif | 
FR | Puy de Dome | 
GB | Kensington | ???
GB | Auchencorth Moss | ???
GR | Finokalia | 
GR | DEM Athens | 
HU | K-Pustza | 
IE | Mace Head | ???
IT | JRC Ispra | 
IT | Mt.Cimone | 
LT | Preila | 
NL | Cabauw | 
NO | Birkenes | Non-EU
NO | Zeppelin | Not reachable
NP | Pyramid | Not reachable
SE | Hyltemossa | 
SE | Norunda | 

## Slide 6
BOX1 NILU CPC |  |  | 
IE | Mace Head |  | 
UK | Auchencorth Moss | Christine Braban | chri2@ceh.ac.uk
FR | SIRTA/Gif | Valérie Gros | valerie.gros@lsce.ipsl.fr
BE | Vielsalm | Benjamin Bergmans | b.bergmans@issep.be
NL | Cabauw | Bas Henzing | bas.henzing@tno.nl
NO | Birkenes | Chris Lunder | Chris.Lunder@nilu.no
BOX2 - UHEL CPC |  |  | 
FI | Hyytiälä | Pasi Aaalto | pasi.p.aalto@helsinki.fi
FI | Pallas | Asmi Eija | Asmi.Eija@fmi.fi
SE | Hyltemossa | Adam Kristenson | adam.kristensson@nuclear.lu.se
SE | Norunda | Radovan Krejci | Radovan.Krejci@aces.su.se

## Slide 7
BOX3 - CNRS CPC, still missing |  |  | 
Cy | Agia Marina Xyliatou | Jean Sciare | j.sciare@cyi.ac.cy
GR | Finokalia | Nikolaos Mihalopoulos | mihalo@uoc.gr
GR | DEM Athens | Eleftheriadis Konstantinos | elefther@ipta.demokritos.gr
HU | K-Pustza | András Hoffer | hofferandras@gmail.com
BG | BEO Moussala | Ivo Kalapov | ivokalapov@gmail.com
BOX4 - TROPOS CPC |  |  | 
ES | Granada | Esther Coz | esther.coz@ciemat.es
ES | Arenosillo | Mar Sorribas Panero | sorribas@inta.es
ES | Montseny | Noemi Perez | n.perezlozano@gmail.com
ES | Madrid | Esther Coz | esther.coz@ciemat.es
DE | Hohenpeissenberg | Harald Flentje | flentje@dwd.de
DE | Melpitz | Alfred Wiedensohler | ali@tropos.de

## Slide 8
BOX5 - PSI CPC |  |  | 
CZ | Kosetice | Vladimir Zdimal | Zdimal@icpf.cas.cz
CZ | Prague Suchdol | Vladimir Zdimal | Zdimal@icpf.cas.cz
FR | Puy de Dome | Karine Sellegri | K.Sellegri@opgc.univ-bpclermont.fr
IT | Mt.Cimone | Angela Marinoni | a.marinoni@isac.cnr.it
IT | JRC Ispra | JP Putaud | jean.putaud@jrc.ec.europa.eu
CH | Jungfraujoch | Martin Gysel | matin.gysel@psi.ch